Protocol of radon concentration measurements in waters

| water sample ID (name, address) |  |
| --- | --- |
| the use of water in the spa (spa name, village/town, county) | spring pool potable water borehole, well |  |
| origin and type of water | ground mineral thermal mix | bottled water raw water |
| water temperature during the sampling |  |  |
| water modification | without modification lowering of radon concentration removal of other radionuclides other ............................................... |
| location, date and time of sampling |  |
| Sampling procedure (please describe in detail, for example whether the water sample was taken right after opening the tap, or 10 minutes after opening the tap, whether the sample was poured directly to the sampling container, or it was poured to another container before that, or it was merged with another sample, etc.) |  |
| sample modification | none acidification ………………… mℓ/ℓ another modification ........................................... |
| who took the sample (name, organization) |  |
| other person present during the sampling (name, organization) |  |

| purpose and desired measurement range | alpha emitting radionuclides beta emitting radionuclides radon activity concentration other .................................................................... |
| --- | --- |
| laboratory responsible for sample analyses |  |
| date of submission or date of sending the sample to the laboratory |  |
| additional notes regarding sampling and measurement |  |
| signature of a person responsible for the sampling |  |
| signature of another person present during the sampling |  |

| Measurement results: a – activity concentration, m – mass concentration, U - expanded standard uncertainty with a coverage factor k = 2 |
| --- |
|  | a or m | U | aND, aNH | Methodology used | Measuring device |
| aV,cα [Bq.ℓ-1] |  |  |  |  |  |
| aV,cβ [Bq.ℓ-1] |  |  |  |  |  |
| aV,Rn-222 [Bq.ℓ-1] |  |  |  |  |  |
| aV,Ra-226 [Bq.ℓ-1] |  |  |  |  |  |
| mUnat [mg.ℓ-1] |  |  |  |  |  |
| Other: |  |  |  |  |  |
| Note: aND - minimum detectable activity concentration, aNH - minimum detectable mass concentration (at a significance level of 95%) |